## ISO 13485 Checklist
Clause | Requirement Summary | Compliance Status | Evidence Location | Gap Description | Priority | Notes
4 | Quality Management System
4.1 | General Requirements - QMS scope and processes documented
4.1.2 | Risk-based approach to outsourced process control
4.1.5 | QMS software validation (FDA 820.35)
4.2.1 | Documentation requirements - general
4.2.2 | Quality Manual
4.2.3 | Medical Device File (MDF)
4.2.4 | Control of Documents
4.2.5 | Control of Records
5 | Management Responsibility
5.1 | Management Commitment
5.2 | Customer Focus
5.3 | Quality Policy
5.4.1 | Quality Objectives
5.4.2 | QMS Planning
5.5.1 | Responsibility and Authority
5.5.2 | Management Representative
5.5.3 | Internal Communication
5.6 | Management Review (NOW FDA INSPECTABLE)
6 | Resource Management
6.1 | Provision of Resources
6.2 | Human Resources - Competence
6.3 | Infrastructure
6.4 | Work Environment and Contamination Control
7 | Product Realization
7.1 | Planning of Product Realization
7.2.1 | Determination of Customer Requirements
7.2.2 | Review of Customer Requirements
7.2.3 | Customer Communication (NEW REQUIREMENT)
7.3.1 | Design and Development Planning
7.3.2 | Design and Development Inputs
7.3.3 | Design and Development Outputs
7.3.4 | Design and Development Review
7.3.5 | Design and Development Verification
7.3.6 | Design and Development Validation
7.3.7 | Control of Design Changes
7.3.8 | Design and Development Transfer
7.3.9 | Control of Design Changes
7.3.10 | Design and Development Files
7.4.1 | Purchasing Process - Risk-based supplier control
7.4.2 | Purchasing Information
7.4.3 | Verification of Purchased Product
7.5.1 | Control of Production and Service Provision
7.5.2 | Cleanliness of Product
7.5.3 | Installation Activities
7.5.4 | Servicing Activities
7.5.6 | Process Validation
7.5.7 | Sterilization and Sterile Barrier Validation
7.5.8 | Identification
7.5.9 | Traceability
7.5.10 | Customer Property
7.5.11 | Preservation of Product
7.6 | Control of Monitoring and Measuring Equipment
8 | Measurement, Analysis and Improvement
8.2.1 | Feedback System (NEW - Beyond Complaints)
8.2.2 | Complaint Handling
8.2.3 | Reporting to Regulatory Authorities
8.2.4 | Internal Audit (NOW FDA INSPECTABLE)
8.2.5 | Monitoring and Measurement of Processes
8.2.6 | Monitoring and Measurement of Product
8.3 | Control of Nonconforming Product
8.4 | Analysis of Data
8.5.1 | Improvement - General
8.5.2 | Corrective Action (SEPARATE FROM PA)
8.5.3 | Preventive Action (SEPARATE FROM CA)
FDA | FDA-Specific Additions
820.35 | Quality Management System Software
820.45 | Device Labeling Inspections

## Gap Register
Gap ID | ISO Clause | Gap Description | Current State | Required State | Severity | Priority | Owner | Target Date | Status | Closure Evidence | Closed Date

## Action Tracker
Action ID | Gap ID | Action Description | Action Type | Owner | Due Date | Status | Completion Date | Evidence | Notes

## Risk Matrix
QMSR Gap Risk Assessment Matrix
Severity Criteria
Critical | Would result in Warning Letter or consent decree; affects product safety
Major | Would result in 483 observation requiring response; affects quality
Minor | May result in observation; administrative or documentation concern
Detection Probability Criteria
High | Obvious in routine inspection; common FDA focus area
Medium | May be found during detailed review of records
Low | Unlikely to be examined unless specifically triggered
Priority Matrix
Detection Probability
| High | Medium | Low
Critical | Critical | Critical | High
Major | Critical | High | Medium
Minor | High | Medium | Low

## Summary Dashboard
QMSR Gap Analysis Summary Dashboard
Assessment Information
Company Name:
Assessment Date:
Assessor:
Deadline: | February 2, 2026
Gap Summary by Priority
Priority | Count | Percentage
Critical | 0 | 0%
High | 0 | 0%
Medium | 0 | 0%
Low | 0 | 0%
QMSR COMPLIANCE DEADLINE: February 2, 2026
Key Action Items
1. Separate CAPA into distinct Corrective Action and Preventive Action procedures
2. Prepare management review records for FDA inspection
3. Prepare internal audit records for FDA inspection
4. Document QMS software validation per 820.35
5. Create customer communication procedure (7.2.3)
6. Create customer feedback system procedure (8.2.1)
7. Document risk-based supplier classification rationale

## Instructions
QMSR Gap Analysis Template - Instructions
HOW TO USE THIS TEMPLATE
1. ISO 13485 Checklist Tab:
- Review each clause against your current QMS
- Select compliance status from dropdown
- Document evidence location for compliant items
- Describe gaps for non-compliant items
- Assign priority based on risk matrix
2. Gap Register Tab:
- Transfer all identified gaps from checklist
- Assign unique Gap ID (e.g., GAP-001)
- Document current vs. required state
- Assign severity and priority using risk matrix
- Assign owner and target date
- Track status through closure
3. Action Tracker Tab:
- Create specific actions to close each gap
- Link to Gap ID
- Assign owner and due date
- Track completion and evidence
4. Risk Matrix Tab:
- Reference for prioritization decisions
- Use severity and detection probability
- Document rationale for priority assignments
5. Summary Dashboard Tab:
- Update with your company information
- Track overall progress
- Use for management reporting
PRIORITY DEFINITIONS:
Critical - Address immediately (within 2 weeks)
High - Address within 30 days
Medium - Address within 60 days
Low - Address before deadline
RESOURCES:
QMS.Coach: https://qms.coach
Free Consultation: https://calendar.app.google/tCzVmShmYmCPLAFJ8
© QMS.Coach LLC ¦ neel@qms.coach