## Shadow Grid List
AIxEnergy U.S. Shadow Grid (February 2026)
Project | State | County | Gas_MW | Solar_MWac | BESS_MW | Interconnection | COD_Window | Primary_Source | Source_Citation | Confidence | County_norm | Project_norm | Primary_Regulator | Registry_System | Registry_Query_HowTo_Source | Docket_or_Permit_ID | Permit_Status | Permit_Issue_Date | Construction_Status | Turbine_Order_Signal | COD_Confidence | COD_Methodology_Note | Operator_Normalized | Plant_Normalized | County_Normalized | State_Normalized | Operator_Key | Expected_COD_Year | Expected_COD_Month | COD_Probability_0_1 | Plant_n | County_n | State_u | Project_n | Fuel_Primary | MW_Total_Est | Evidence_URLs | Evidence_Tier | Last_Verified_Date | Notes | State_raw | State_bucket | Operator_n | Operator_core | Permit_n | Cluster_Key | Cluster_ID | Shadow_Gas_Expected_MW | Shadow_Solar_Expected_MW | Shadow_BESS_Expected_MW | Shadow_Total_Expected_MW | COD_Month_Imputed
xAI Colossus (Memphis) on-site gas turbines | TN | Shelby | 422 |  |  | On-site turbines / generators (reported) |  | Reuters + SELC | turn1news49;turn1search2;turn1news53 |  | shelby | xai colossus memphis on site gas turbines | Shelby County Health Department (air) + EPA oversight context | Shelby County Health Dept air permit records; public comments |  |  | Permit issued for 15 turbines (Jul 2025); additional turbines alleged |  | Operating |  | High |  |  |  | shelby | tn |  | 2024 | 6 | 0.95 |  | shelby | TN | xai colossus memphis on site gas turbines | Natural gas | 422 | https://www.reuters.com/sustainability/boards-policy-regulation/musks-xai-increased-tennessee-gas-turbines-without-permits-community-groups-say-2025-04-09/ ; https://www.selc.org/press-release/memphis-health-leaders-grant-air-permit-for-xai-data-center/ | Tier 1 (permit-related advocacy docs) + Tier 2 (wire service) | 2026-02-22 |  | TN | STATE |  |  |  | TN¦shelby¦ | CL00013 | 400.9 |  |  | 400.9 | FALSE
Crusoe/Boom Supersonic Turbine Order (portfolio) | UNLOCATED |  | 1210 |  |  | Behind-the-meter / off-grid (portfolio) | Deliveries TBD; order announced Dec 2025 | DataCenterDynamics Dec 10 2025 | turn7search1 | Medium |  | crusoe boom supersonic turbine order portfolio | [8 empty] | Low | Heuristic stage-based COD probability using permit/construction signals; refine with docket milestones (application filed, completeness, approval date, NTP, turbine delivery). | crusoe boom supersonic turbine order portfolio | crusoe boom supersonic turbine order portfolio |  |  | crusoe boom supersonic turbine order portfolio | 2025 | 6 | 0.3 | crusoe boom supersonic turbine order portfolio |  | NAN | crusoe boom supersonic turbine order portfolio | [6 empty] | nan | UNLOCATED | crusoe boom supersonic turbine order portfolio | boom crusoe order |  | UNLOCATED¦¦boom crusoe order | CL00019 | 363 |  |  | 363 | TRUE
Ridgeline Facility (Fundamental Data) | WV | Tucker County (near Davis/Thomas) | 1656 |  |  | Not connected to grid; on-site use (reported) | Permitting (air) in 2025; timing unclear | WV Highlands Conservancy Apr 7 2025; Inter-Mountain Jun 28 2025 | turn7search3;turn7search2 | Medium | tucker county near davis thomas | ridgeline facility fundamental data | WVDEP (Air Quality) + county commission / local notices | WVDEP ESS Public Query + Application Xtender (AX) + county packets | turn1search1 |  | Permitting contested / community opposition (reported) |  | Proposed |  | Low | Visibility via local notices; permit approvals and timeline uncertain. | ridgeline facility fundamental data | ridgeline facility fundamental data | tucker county near davis thomas | wv | ridgeline facility fundamental data | 2025 | 6 | 0.35 | ridgeline facility fundamental data | tucker county near davis thomas | WV | ridgeline facility fundamental data | [6 empty] | WV | STATE | ridgeline facility fundamental data | fundamental ridgeline |  | WV¦tucker county near davis thomas¦fundamental ridgeline | CL00024 | 579.6 |  |  | 579.6 | TRUE
Socrates (Reuters figure) | OH | Ohio (unspecified) | 440 |  |  | Power purchase to Meta (reported) | Second half of 2026 (Reuters) | Reuters Feb 6 2026 | turn1view0 | Medium (MW discrepancy vs 400) | ohio unspecified | socrates reuters figure | Ohio Power Siting Board (OPSB) | OPSB Docket/Filings (case lookup) | turn1search4 | 25-00185-EL-BLN (South); 25-00188-EL-BGN (North) | OPSB approved (reported) |  | Target in-service Q3 2026 (reported) |  | High | OPSB authorization + explicit in-service target Q3 2026; behind-the-meter plant not grid-connected. | socrates reuters figure | socrates reuters figure | ohio unspecified | oh | socrates reuters figure | 2026 | 8 | 0.8 | socrates reuters figure | ohio unspecified | OH | socrates reuters figure | [6 empty] | OH | STATE | socrates reuters figure | figure reuters socrates | 25 00185 el bln south 25 00188 el bgn north | OH¦PERMIT¦25 00185 el bln south 25 00188 el bgn north | CL00007 | 352 |  |  | 352 | FALSE
Socrates North + South (Williams / Meta affiliate) | OH | Licking County / New Albany | 400 |  |  | Behind-the-meter; not connected to grid (reported) | Expected in service by Q3 2026 | Pipeline & Gas Journal May 2025; Mount Vernon News Jun 2025 | turn0search3;turn0search6 | High | licking county new albany | socrates north south williams meta affiliate | Ohio Power Siting Board (OPSB) | OPSB Docket/Filings (case lookup) | turn1search4 | 25-00185-EL-BLN (South); 25-00188-EL-BGN (North) | OPSB approved (reported) |  | Target in-service Q3 2026 (reported) |  | High | OPSB authorization + explicit in-service target Q3 2026; behind-the-meter plant not grid-connected. | socrates north south williams meta affiliate | socrates north south williams meta affiliate | licking county new albany | oh | socrates north south williams meta affiliate | 2026 | 8 | 0.8 | socrates north south williams meta affiliate | licking county new albany | OH | socrates north south williams meta affiliate | [6 empty] | OH | STATE | socrates north south williams meta affiliate | affiliate meta north | 25 00185 el bln south 25 00188 el bgn north | OH¦PERMIT¦25 00185 el bln south 25 00188 el bgn north | CL00007 | 320 |  |  | 320 | FALSE
Socrates North Power Generation Project | OH | Licking |  |  |  | Behind-the-meter; not connected to grid |  | WaPo reporting; OPSB case references | turn0news48;turn0search10 |  | licking | socrates north power generation project | Ohio Power Siting Board (OPSB) | OPSB Docket/Case Filings |  | 25-00188-EL-BGN | Reported approved/advanced |  | Target in-service Q3 2026 reported |  | Medium-High |  |  |  | licking | oh |  | 2026 | 8 | 0.7 |  | licking | OH | socrates north power generation project | Natural gas |  | https://www.washingtonpost.com/business/2026/02/19/data-centers-power-grid-ai/ | Tier 2 (major media) pending docket verification | 2026-02-22 |  | OH | STATE |  |  | 25 00188 el bgn | OH¦PERMIT¦25 00188 el bgn | CL00008 |  |  |  |  | FALSE
Socrates South Power Generation Project | OH | Licking | 200 |  |  | Behind-the-meter; not connected to grid |  | OPSB case release via local media | turn0search10 |  | licking | socrates south power generation project | Ohio Power Siting Board (OPSB) | OPSB Docket/Case Filings |  | 25-00185-EL-BLN | OPSB approved (Jun 2025 reported) |  | Planned; target in-service Q3 2026 reported |  | High |  |  |  | licking | oh |  | 2026 | 8 | 0.78 |  | licking | OH | socrates south power generation project | Natural gas | 200 | https://mountvernonnews.com/stories/672842483-natural-gas-fired-power-plant-authorized-for-new-albany-licking-county | Tier 2 (local media citing OPSB) | 2026-02-22 |  | OH | STATE |  |  | 25 00185 el bln | OH¦PERMIT¦25 00185 el bln | CL00006 | 156 |  |  | 156 | FALSE
xAI Colossus II/III (Southaven MS / Memphis TN) gas turbines (permit dispute) | MS/TN | DeSoto County, MS / Shelby County, TN |  |  |  | Behind-the-meter / onsite generation (reported); turbines used for data center power | Operating temporary turbines during permit review; permanent turbine permits under review (Feb 2026) | Reuters Feb 17 & Feb 19 2026 (public hearing / lawsuit threat) | turn2news47;turn2news49 | Medium | desoto county ms shelby county tn | xai colossus ii iii southaven ms memphis tn gas turbines permit dispute | Mississippi DEQ + Shelby County Health Dept (air) + EPA NSPS | MS DEQ air permit system + local air permit records |  |  | Applied / under review; contested |  | Operating temporary turbines; expansion proposed | Not disclosed | Low | Project is already operating temporary turbines; probability reflects continued operation, not full permitted buildout. MW not disclosed in Reuters excerpt. | xai | colossus data center power | desoto county ms shelby county tn | ms tn | xai | 2026 | 9 | 0.7 | colossus data center power | desoto county ms shelby county tn | MS/TN | xai colossus ii iii southaven ms memphis tn gas turbines permit dispute |  |  | https://www.reuters.com/sustainability/boards-policy-regulation/mississippi-holds-hearing-xai-data-center-amid-environmental-lawsuit-threat-2026-02-17/ ¦ https://www.reuters.com/sustainability/sustainable-switch-us-civil-rights-group-threatens-sue-xai-over-pollution-2026-02-19/ | Tier 1 — National wire (Reuters) | 2026-02-22 |  | MS/TN | STATE | xai | xai |  | MS/TN¦desoto county ms shelby county tn¦xai | CL00001 |  |  |  |  | FALSE
Stargate Site 1 Abilene TX — on-site gas plant (360.5 MW permitted; >1 GW turbines reported) | TX | Taylor County (Abilene) | 360.5 |  |  | On-site plant intended as primary/backup; reported off-grid component | Permits filed Jan 2025; turbine deliveries mid/late-2026+ (reported) | Business Insider Jan 2025; DataCenterDynamics Oct 2025 | turn3news35;turn3search4 | Medium | taylor county abilene | stargate site 1 abilene tx on site gas plant 360 5 mw permitted 1 gw turbines reported | TCEQ | TCEQ permit portal |  |  | Applied/permitted (reported; verify permit ID) |  | Under development |  | Low-Medium | Permitting referenced in business press; COD depends on turbine delivery schedule and site build. | stargate/crusoe/openai/oracle | stargate site 1 abilene | taylor county abilene | tx | stargate crusoe openai oracle | 2026 | 12 | 0.5 | stargate site 1 abilene | taylor county abilene | TX | stargate site 1 abilene tx on site gas plant 360 5 mw permitted 1 gw turbines reported |  |  | https://www.businessinsider.com/stargate-data-center-powered-by-natural-gas-2025-1 ¦ https://www.datacenterdynamics.com/en/news/parker-hannifin-to-supply-more-than-1gw-of-natural-gas-turbines-to-stargates-abilene-campus-in-texas/ | Tier 2 — Major business press + Tier 2 trade press | 2026-02-22 |  | TX | STATE | stargate crusoe openai oracle | crusoe openai oracle |  | TX¦taylor county abilene¦crusoe openai oracle | CL00017 | 180.25 |  |  | 180.25 | FALSE
xAI Colossus II (Southaven, MS) proposed turbines | MS | DeSoto |  |  |  | Gas plant to serve data center load (reported) |  | Reuters | turn1news48 |  | desoto | xai colossus ii southaven ms proposed turbines | Mississippi DEQ | MS DEQ air permitting docket |  |  | Permit application for 41 permanent turbines; hearing held (Feb 2026 reported) |  | Permitting / temporary turbines operating during review (reported) |  | Low-Medium |  |  |  | desoto | ms |  | 2026 | 12 | 0.55 |  | desoto | MS | xai colossus ii southaven ms proposed turbines | Natural gas |  | https://www.reuters.com/sustainability/boards-policy-regulation/mississippi-holds-hearing-xai-data-center-amid-environmental-lawsuit-threat-2026-02-17/ | Tier 2 (wire service) pending permit ID extraction | 2026-02-22 |  | MS | STATE |  |  |  | MS¦desoto¦ | CL00002 |  |  |  |  | FALSE
Monarch Compute Campus (AIP Corp) - initial phase | WV | Mason County | 2000 |  |  | On-site generation paired with BESS (reported) | Power delivery expected 2026; 2GW by 2027 | DataCenterDynamics Jan 30 2026 | turn7search4 | Medium-High | mason county | monarch compute campus aip corp initial phase | WVDEP (Air Quality) + local approvals | WVDEP ESS Public Query + Application Xtender (AX) | turn1search1 |  | Permitting / procurement reported; verify in WVDEP ESS/AX |  | Procurement signal (reported) |  | Low-Medium | Phased build; COD depends on WVDEP permit milestones and equipment delivery. | monarch compute campus aip corp initial phase | monarch compute campus aip corp initial phase | mason county | wv | monarch compute campus aip corp initial phase | 2026 | 6 | 0.55 | monarch compute campus aip corp initial phase | mason county | WV | monarch compute campus aip corp initial phase | [6 empty] | WV | STATE | monarch compute campus aip corp initial phase | aip corp initial |  | WV¦mason county¦aip corp initial | CL00022 | 1100 |  |  | 1100 | TRUE
Stargate 'Project Jupiter' (OpenAI/Oracle campus) | NM | Doña Ana County (Santa Teresa) | 1000 |  |  | On-site microgrid (reported) | First phase end of 2026 (reported) | Compiled project overview (secondary) | turn0search4 | Low-Medium (secondary source) | do a ana county santa teresa | stargate project jupiter openai oracle campus | [8 empty] | Low | Heuristic stage-based COD probability using permit/construction signals; refine with docket milestones (application filed, completeness, approval date, NTP, turbine delivery). | stargate project jupiter openai oracle campus | stargate project jupiter openai oracle campus | do a ana county santa teresa | nm | stargate project jupiter openai oracle campus | 2026 | 6 | 0.3 | stargate project jupiter openai oracle campus | do a ana county santa teresa | NM | stargate project jupiter openai oracle campus | [6 empty] | NM | STATE | stargate project jupiter openai oracle campus | jupiter openai oracle |  | NM¦do a ana county santa teresa¦jupiter openai oracle | CL00004 | 300 |  |  | 300 | TRUE
Apollo + Aquila (Williams) | OH | Ohio (unspecified) |  |  |  | Power projects backed by 10-year PPAs; unnamed counterparty | First half of 2027 | Reuters Feb 6 2026 | turn1view0 | Medium (capacity not disclosed in source excerpt) | ohio unspecified | apollo aquila williams | [8 empty] | Low | Heuristic stage-based COD probability using permit/construction signals; refine with docket milestones (application filed, completeness, approval date, NTP, turbine delivery). | apollo aquila williams | apollo aquila williams | ohio unspecified | oh | apollo aquila williams | 2027 | 4 | 0.3 | apollo aquila williams | ohio unspecified | OH | apollo aquila williams | [6 empty] | OH | STATE | apollo aquila williams | apollo aquila williams |  | OH¦ohio unspecified¦apollo aquila williams | CL00009 |  |  |  |  | FALSE
GW Ranch | TX | Pecos | 7650 | 750 | 1800 | Off-grid / private-grid (behind-the-meter) |  | Pacifico Energy project page; DCD; local news | turn0search1;turn0search4;turn0search3 |  | pecos | gw ranch | TCEQ | TCEQ Permit Search Portal / Central Registry + CID (public notices) | turn0search1;turn0search4;turn1search? (portal) |  | Air permit approved (7.65 GW) (reported) |  | Development; first power targeted H1 2027 |  | High |  |  |  | pecos | tx |  | 2027 | 4 | 0.8 |  | pecos | TX | gw ranch | Natural gas (with solar+BESS) | 10200 | https://www.pacificoenergy.com/gw-ranch ; https://www.datacenterdynamics.com/en/news/pacifico-secures-765gw-air-permit-for-gw-ranch-project-in-west-texas/ | Tier 1 (developer) + Tier 2 (trade press) | 2026-02-22 | Permit MW is gas-fired; solar/BESS are planned co-located assets; MW_Total_Est is additive nameplate, not firm capacity. | TX | STATE |  |  |  | TX¦pecos¦ | CL00016 | 6120 | 600 | 1440 | 8160 | FALSE
GW Ranch (Pacifico Energy) | TX | Pecos County | 7650 | 750 | 1800 | Private-grid / off-grid campus | First power Q1 2027; phased build | DataCenterDynamics Jan 27 2026; Pacifico Energy site | turn0search0;turn0search5 | High | pecos county | gw ranch pacifico energy | TCEQ | TCEQ Permit Search / Central Registry + CID (public notices) | turn1search3;turn0search1 |  | Air permit approved (reported) |  | Pre-construction; phased build (reported) |  | Medium-High | Permit approved + developer disclosed first power H1 2027; timing depends on customer build schedule (developer + DCD). | gw ranch pacifico energy | gw ranch pacifico energy | pecos county | tx | gw ranch pacifico energy | 2027 | 4 | 0.75 | gw ranch pacifico energy | pecos county | TX | gw ranch pacifico energy | [6 empty] | TX | STATE | gw ranch pacifico energy | pacifico |  | TX¦pecos county¦pacifico | CL00015 | 5737.5 | 562.5 | 1350 | 7650 | FALSE
Creekstone Gigasite (Millard County) - gas + renewables | UT | Millard County | 300 |  |  | On-site supply for data center (reported) | Gas >300 MW by mid-2027 (reported); solar+storage 280 MW (MOU) Feb 2026 | Reuters Feb 18 2026 (Zeo Energy / Creekstone deal) | turn0news36 | Medium-High | millard county | creekstone gigasite millard county gas renewables | [8 empty] | Medium | Reuters-disclosed timing for gas; MOU for solar/storage. Treated as mid-2027 midpoint with moderate execution risk. | creekstone gigasite millard county gas renewables | creekstone gigasite millard county gas renewables | millard county | ut | creekstone gigasite millard county gas renewables | 2027 | 6 | 0.6 | creekstone gigasite millard county gas renewables | millard county | UT | creekstone gigasite millard county gas renewables |  |  | https://www.reuters.com/business/energy/zeo-energy-signs-deal-develop-280-mw-power-creekstone-data-center-utah-2026-02-18/ | Tier 1 — National wire (Reuters) | 2026-02-22 |  | UT | STATE | creekstone gigasite millard county gas renewables | county creekstone gas |  | UT¦millard county¦county creekstone gas | CL00020 | 180 |  |  | 180 | FALSE
TransGas Mingo County data center energy campus (2 gas plants) | WV | Mingo |  |  |  | Off-grid gas power plants for data center energy campus (reported) |  | WV Highlands Conservancy (citing WVDEP permits) | turn0search6 |  | mingo | transgas mingo county data center energy campus 2 gas plants | WVDEP (DAQ) | WVDEP ESS Public Query + AX |  | Air permits R13-3714 and R13-3715 | Air permits issued Oct 2, 2025 |  | Permitted |  | Low-Medium |  |  |  | mingo | wv |  | 2027 | 6 | 0.55 |  | mingo | WV | transgas mingo county data center energy campus 2 gas plants | Natural gas |  | https://www.wvhighlands.org/article/despite-public-pushback-west-virginia-approves-air-quality-permits-for-data-center-energy-campus-in-mingo-county/ | Tier 2 (NGO summarizing permit IDs) - verify in ESS/AX | 2026-02-22 |  | WV | STATE |  |  | air permits r13 3714 and r13 3715 | WV¦PERMIT¦air permits r13 3714 and r13 3715 | CL00021 |  |  |  |  | FALSE
Homer City Energy Campus | PA | Indiana | 4400 |  |  | On-site generation for data center campus (reported) |  | PA DEP program page + project press release | turn1search6;turn1search0 |  | indiana | homer city energy campus | Pennsylvania DEP (PA DEP) | PA DEP project page + air plan approval records (NWR office) |  |  | Air quality plan approval issued (Nov 2025) (reported by project; DEP page confirms redevelopment) |  | Development; initial power targeted 2027 (project statement) |  | Medium-High |  |  |  | indiana | pa |  | 2027 | 7 | 0.72 |  | indiana | PA | homer city energy campus | Natural gas | 4400 | https://www.pa.gov/agencies/dep/dep-regions/northwest-regional-office/homer-city-generation-redevelopment ; https://www.homercityredevelopment.com/post/press-release-homer-city-generation-receives-air-quality-plan-approval-from-pa-dep | Tier 1 (regulator page) + Tier 1 (project press release) | 2026-02-22 |  | PA | STATE |  |  |  | PA¦indiana¦ | CL00011 | 3168 |  |  | 3168 | FALSE
Project Jade Data Center Campus + Cheyenne Power Hub (Tallgrass) | WY | Laramie | 2700 |  |  | Dedicated adjacent generation for data center campus (reported) |  | Power Magazine + DCD + Crusoe/Tallgrass release | turn1search17;turn1search3;turn1search15 |  | laramie | project jade data center campus cheyenne power hub tallgrass | Laramie County (WY) planning/zoning + state air permits TBD | County commission site plan docket; WYDEQ air permits (future) |  |  | County site plan approved (Jan 2026) (reported) |  | Permitted locally; pre-construction |  | Medium |  |  |  | laramie | wy |  | 2027 | 10 | 0.6 |  | laramie | WY | project jade data center campus cheyenne power hub tallgrass | Natural gas | 2700 | https://www.powermag.com/wyoming-approves-data-center-campus-that-includes-2-7-gw-of-new-natural-gas-fired-generation/ ; https://www.datacenterdynamics.com/en/news/crusoe-gets-go-ahead-for-18gw-data-center-campus-and-power-plant-in-cheyenne-wyoming/ ; https://www.crusoe.ai/newsroom/crusoe-and-tallgrass-announce-ai-data-center-in-wyoming/index.html | Tier 1 (company release) + Tier 2 (trade press) | 2026-02-22 |  | WY | STATE |  |  |  | WY¦laramie¦ | CL00026 | 1620 |  |  | 1620 | FALSE
Chevron / Engine No.1 / GE Vernova 'Power Foundries' portfolio (co-located plants for data centers) | MULTI | (multiple; not disclosed) | 4000 |  |  | Behind-the-meter / co-located; surplus may sell to grid (reported) | Initial in-service targeted end of 2027 (reported) | Reuters Jan 28 2025 | turn3news33 | Medium | multiple not disclosed | chevron engine no 1 ge vernova power foundries portfolio co located plants for data centers | State siting & air regulators (site-dependent) | Project-specific once sites disclosed |  |  | Concept / development stage (sites TBD) |  | Development (reported) |  | Low-Medium | National announcement with target date but no site permits disclosed; treated as portfolio commitment with moderate execution risk. | chevron/engine no.1/ge vernova | power foundries portfolio | multiple not disclosed | multi | chevron engine no 1 ge vernova | 2027 | 12 | 0.35 | power foundries portfolio | multiple not disclosed | MULTI | chevron engine no 1 ge vernova power foundries portfolio co located plants for data centers |  |  | https://www.reuters.com/business/energy/chevron-partners-with-engine-no-1-ge-vernova-power-us-data-centers-2025-01-28/ | Tier 1 — National wire (Reuters) | 2026-02-22 |  | Multi | MULTI | chevron engine no 1 ge vernova | chevron engine vernova |  | MULTI¦multiple not disclosed¦chevron engine vernova | CL00003 | 1400 |  |  | 1400 | FALSE
Meta El Paso modular generators (Enchanted Rock / El Paso Electric McCloud) | TX | El Paso County | 365.85 |  |  | Utility-associated plant built to serve data center load; modular generators (reported); effectively dedicated supply | PUC filing/approval timeline; build timing not fully disclosed in national coverage | Washington Post Feb 19 2026; local reporting citing filing (Jan 2026) | turn2search4;turn2search1 | Medium | el paso county | meta el paso modular generators enchanted rock el paso electric mccloud | Public Utility Commission of Texas (PUCT) + TCEQ (air, if applicable) | PUCT filings + TCEQ permit portal | (PUCT docket search) + TCEQ permit search portal |  | Proposed/under application (reported) |  | Planned (reported) |  | Low-Medium | No explicit COD date in WaPo excerpt; assumed ~18–24 months from early-2026 filing for modular build, but dependent on PUC approval, procurement and site work. | meta | el paso modular generation facility | el paso county | tx | meta | 2027 | 12 | 0.45 | el paso modular generation facility | el paso county | TX | meta el paso modular generators enchanted rock el paso electric mccloud |  |  | https://www.washingtonpost.com/business/2026/02/19/data-centers-power-grid-ai/ ¦ https://kvia.com/news/el-paso/2026/01/18/el-paso-electric-proposes-473-million-gas-plant-to-power-meta-data-center-operations/ | Tier 1 — National newspaper (WaPo) + Tier 3 local/regional with filing detail | 2026-02-22 |  | TX | STATE | meta | meta |  | TX¦el paso county¦meta | CL00014 | 164.6325 |  |  | 164.6325 | FALSE
Project Jade (Crusoe + Tallgrass) Cheyenne WY — BFC Power / Cheyenne Power Hub | WY | Laramie County | 1800 |  |  | On-site dedicated gas turbines adjacent to data center campus (county-approved) | County approval Jan 2026; phased build (first phase unspecified) | DataCenterDynamics Jan 8 2026; Wyoming Public Media Jan 20 2026; referenced in WaPo Feb 19 2026 via Crusoe mention | turn2search6;turn2search7;turn2search4 | Medium-High | laramie county | project jade crusoe tallgrass cheyenne wy bfc power cheyenne power hub | Laramie County planning/commission + WYDEQ (air/water as applicable) | County commission packets + WYDEQ permit systems |  |  | County approvals granted (reported); permits TBD |  | Approved / pre-construction |  | Low-Medium | County approvals are strong signal; COD timing not explicitly published. Assumed 18–30 month development for first phase. | crusoe | project jade cheyenne power hub | laramie county | wy | crusoe | 2027 | 12 | 0.55 | project jade cheyenne power hub | laramie county | WY | project jade crusoe tallgrass cheyenne wy bfc power cheyenne power hub |  |  | https://www.datacenterdynamics.com/en/news/crusoe-gets-go-ahead-for-18gw-data-center-campus-and-power-plant-in-cheyenne-wyoming/ ¦ https://www.wyomingpublicmedia.org/natural-resources-energy/2026-01-20/wyoming-county-approves-construction-of-what-could-become-the-largest-data-center-in-us ¦ https://www.washingtonpost.com/business/2026/02/19/data-centers-power-grid-ai/ | Tier 2 — Trade press + Tier 2 public media + Tier 1 national newspaper reference | 2026-02-22 |  | WY | STATE | crusoe | crusoe |  | WY¦laramie county¦crusoe | CL00025 | 990 |  |  | 990 | FALSE
Project Jupiter Microgrids (Acoma LLC) | NM | Doña Ana |  |  |  | Two microgrids for data center campus (reported) |  | Santa Fe New Mexican (via Yahoo) reporting NMED letters | turn1search1 |  | do a ana | project jupiter microgrids acoma llc | New Mexico Environment Department (NMED) | NMED Air Quality Bureau permit application docket / public notices |  |  | Air permit applications administratively incomplete (Dec 2025 letters) |  | Proposed |  | Low-Medium |  |  |  | do a ana | nm |  | 2027 | 12 | 0.45 |  | do a ana | NM | project jupiter microgrids acoma llc | Natural gas (microgrids, presumed) |  | https://www.yahoo.com/news/articles/project-jupiter-air-quality-permits-045900118.html | Tier 2 (regional media) pending docket extraction | 2026-02-22 |  | NM | STATE |  |  |  | NM¦do a ana¦ | CL00005 |  |  |  |  | FALSE
Homer City Energy Campus (Homer City Redevelopment) | PA | Indiana County | 4500 |  |  | On-site power for data center campus (reported) | Initial power targeted 2027 | Reuters Apr 2 2025; AP Apr 2 2025 (national); WaPo Feb 19 2026 references trend incl. PA | turn1news38;turn1search8;turn0search1 | High | indiana county | homer city energy campus homer city redevelopment | [8 empty] | Low | Heuristic stage-based COD probability using permit/construction signals; refine with docket milestones (application filed, completeness, approval date, NTP, turbine delivery). | homer city energy campus homer city redevelopment | homer city energy campus homer city redevelopment | indiana county | pa | homer city energy campus homer city redevelopment | 2027 | 6 | 0.3 | homer city energy campus homer city redevelopment | indiana county | PA | homer city energy campus homer city redevelopment |  |  | https://www.reuters.com/business/energy/ge-vernova-supply-turbines-by-2026-planned-natgas-power-plant-pennsylvania-2025-04-02/ ¦ https://www.yahoo.com/news/pennsylvania-largest-coal-fired-power-153232544.html ¦ https://www.washingtonpost.com/business/2026/02/19/data-centers-power-grid-ai/ | Tier 1 — National wire (Reuters/AP) + Tier 1 national newspaper (WaPo) | 2026-02-22 |  | PA | STATE | homer city energy campus homer city redevelopment | city homer |  | PA¦indiana county¦city homer | CL00010 | 1350 |  |  | 1350 | TRUE
MGS CNP 1 biomass+CCS (data-center linked) | WV | Mason |  |  |  | Behind-the-meter power supply for undisclosed operations (reported) |  | WV Press Association repost of Gazette-Mail | turn0search5 |  | mason | mgs cnp 1 biomass ccs data center linked | WVDEP (DAQ) | WVDEP ESS Public Query + AX |  |  | Air permit issued (Nov 2025 reported) |  | Permitted |  | Low-Medium |  |  |  | mason | wv |  | 2028 | 1 | 0.4 |  | mason | WV | mgs cnp 1 biomass ccs data center linked | Biomass (with CCS) (reported) |  | https://wvpress.org/breaking-news/dep-oks-data-center-linked-mason-county-biomass-site-permit-despite-heavy-opposition/ | Tier 2 (media) - verify permit number in ESS/AX | 2026-02-22 | Not natural gas; included because it is a dedicated off-grid power supply linked to data center operations. | WV | STATE |  |  |  | WV¦mason¦ | CL00023 |  |  |  |  | FALSE
Blue Energy / Crusoe Port of Victoria TX — gas-to-SMR campus (Bloomberg) | TX | Victoria County (Port of Victoria) | 1500 |  |  | Power plant supplying data center; gas initially, SMR later (reported) | Power deliveries as soon as 2028; reactor 2031 (reported) | Bloomberg Oct 30 2025 | turn0search3 | Low-Medium |  |  | Texas siting + NRC for future SMR + TCEQ | TCEQ + NRC docket (future) |  |  | Announced |  | Development |  | Low | Early-stage announced plan with long lead times; treated as low-probability for near-term COD. | blue energy/crusoe | port of victoria campus |  |  |  | 2028 | 6 | 0.25 |  | victoria county port of victoria | TX | blue energy crusoe port of victoria tx gas to smr campus bloomberg |  |  | https://www.bloomberg.com/news/articles/2025-10-30/blue-energy-plans-data-center-plant-powered-by-gas-then-nuclear | Tier 1 — National financial press (Bloomberg) | 2026-02-22 |  | TX | STATE | blue energy crusoe | blue crusoe |  | TX¦victoria county port of victoria¦blue crusoe | CL00018 | 375 |  |  | 375 | FALSE
TECfusions Keystone Connect (Upper Burrell / New Kensington PA) — 3 GW gas facility (reported) | PA | Westmoreland County (Upper Burrell) | 3000 |  |  | Primarily on-site generation (reported); potential grid interactions unclear | Deploy over ~6 years (company statements); Reuters notes 3 GW gas facility | Reuters Feb 16 2026 (PA solar rise piece referencing 3 GW gas facility for Tecfusions data center); TECfusions PR Jan 2025 | turn1news36;turn1search0 | Medium | westmoreland county upper burrell | tecfusions keystone connect upper burrell new kensington pa 3 gw gas facility reported | PA DEP + local zoning/siting | PA DEP eFACTS / permit dockets (to be added) + county packets |  |  | Announced; permitting not confirmed in public registry (needs docket) |  | Development/marketing (reported) |  | Low | Scale suggests multi-year phased build; absent permit IDs in public sources reviewed here. | tecfusions | keystone connect | westmoreland county upper burrell | pa | tecfusions | 2028 | 6 | 0.3 | keystone connect | westmoreland county upper burrell | PA | tecfusions keystone connect upper burrell new kensington pa 3 gw gas facility reported |  |  | https://www.reuters.com/business/energy/solar-rise-gas-rich-pennsylvania--reeii-2026-02-16/ ¦ https://www.prnewswire.com/news-releases/tecfusions-unveils-massive-1400-acre-data-center-project-in-pennsylvania-revitalizing-former-industrial-plant-302350041.html | Tier 1 — National wire (Reuters) + Tier 3 press release | 2026-02-22 |  | PA | STATE | tecfusions | tecfusions |  | PA¦westmoreland county upper burrell¦tecfusions | CL00012 | 900 |  |  | 900 | FALSE
Source: AIxEnergy.IO